## SETTING
## SETTING
## RECLOSEROPTIMISATION
Recloser_number | K_number | K_power
1 | 1 | 1
## POWFLOW
Algo_PF | Options_PSM | Options_GS | Options_NR
PSM | 100
Note on A8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: PSM,NR,GS

## BUS
## BUSDATA
NO | NAME | kV | FLAG | PLOAD[kw] | QLOAD[kvar] | x | y | RateLoad[kVA] | NUMBER OF LOAD | Vscheduled[pu] | QgenMax[kvar] | QgenMin[kvar] | CODE
1 | BUS1 | 12.66 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 9999 | -9999 | 3
2 | BUS2 | 12.66 | 1 | 100 | 60 | 2 | 0 | 100 | 100
3 | BUS3 | 12.66 | 1 | 100 | 40 | 3 | 0 | 100 | 100
4 | BUS4 | 12.66 | 1 | 150 | 100 | 4 | 0 | 150 | 150
5 | BUS5 | 12.66 | 1 | 100 | 100 | 5 | 0 | 100 | 100
6 | BUS6 | 12.66 | 1 | 50 | 100 | 6 | 0 | 50 | 50
7 | BUS7 | 12.66 | 1 | 50 | 200 | 7 | 0 | 50 | 50
8 | BUS8 | 12.66 | 1 | 200 | 100 | 8 | 0 | 200 | 200
9 | BUS9 | 12.66 | 1 | 150 | 200 | 9 | 0 | 150 | 150
10 | BUS10 | 12.66 | 1 | 100 | 60 | 10 | 0 | 100 | 100
11 | BUS11 | 12.66 | 1 | 45 | 30 | 11 | 0 | 45 | 45
12 | BUS12 | 12.66 | 1 | 60 | 35 | 12 | 0 | 60 | 60
13 | BUS13 | 12.66 | 1 | 60 | 35 | 13 | 0 | 60 | 60
14 | BUS14 | 12.66 | 1 | 120 | 80 | 14 | 0 | 120 | 120
15 | BUS15 | 12.66 | 1 | 60 | 10 | 15 | 0 | 60 | 60
16 | BUS16 | 12.66 | 1 | 60 | 20 | 16 | 0 | 60 | 60
17 | BUS17 | 12.66 | 1 | 60 | 20 | 17 | 0 | 60 | 60
18 | BUS18 | 12.66 | 1 | 90 | 40 | 18 | 0 | 90 | 90
19 | BUS19 | 12.66 | 1 | 90 | 40 | 2 | -1 | 90 | 90
20 | BUS20 | 12.66 | 1 | 90 | 40 | 3 | -1 | 90 | 90
21 | BUS21 | 12.66 | 1 | 90 | 40 | 8 | -1 | 90 | 90
22 | BUS22 | 12.66 | 1 | 90 | 40 | 12 | -1 | 90 | 90
23 | BUS23 | 12.66 | 1 | 90 | 50 | 3 | 2 | 90 | 90
24 | BUS24 | 12.66 | 1 | 420 | 200 | 4 | 2 | 420 | 420
25 | BUS25 | 12.66 | 1 | 420 | 200 | 5 | 2 | 420 | 420
26 | BUS26 | 12.66 | 1 | 60 | 25 | 6 | 1 | 60 | 60
27 | BUS27 | 12.66 | 1 | 60 | 25 | 7 | 1 | 60 | 60
28 | BUS28 | 12.66 | 1 | 60 | 20 | 8 | 1 | 60 | 60
29 | BUS29 | 12.66 | 1 | 120 | 70 | 9 | 1 | 120 | 120
30 | BUS30 | 12.66 | 1 | 200 | 600 | 10 | 1 | 200 | 200
31 | BUS31 | 12.66 | 1 | 150 | 70 | 11 | 1 | 150 | 150
32 | BUS32 | 12.66 | 1 | 210 | 100 | 12 | 1 | 210 | 210
33 | BUS33 | 12.66 | 1 | 60 | 40 | 13 | 1 | 60 | 60
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Số nút (duy nhất)
Note on B2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Tên nút
Note on C2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Điện áp định mức nút
Note on D2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 1-Inservice; 0- Out of service
Note on E2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Công suất tác dụng của phụ tải
Note on F2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Công suất phản kháng của phụ tải
Note on I2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Công suất MBA phụ tải [kva]
Note on J2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Số lượng phụ tải
Note on K2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Điện áp đặt tại cho Bus nguồn >0
Note on L2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Công suất Q cực đại (của Bus nguồn)
Note on M2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Công suất Q cực tiểu (của Bus nguồn)
Note on N2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Loại BUS, 1/None- bus Tải, 2- bus PV, 3-bus SWING

## LINE
## LINEDATA | [7 empty] | NO
NO | FROMBUS | TOBUS | FLAG | FLAG3 | x | y | LENGTH | R(Ohm) | X(Ohm) | B(microSiemens) | Number of Fault per km /year | RATEA[A] | RATEB[A] | FLAG2
1 | 1 | 2 | 1 | 0 |  |  | 1 | 0.0922 | 0.047 | 0 | 1 | 500 | 510 | 0
2 | 2 | 3 | 1 | 1 |  |  | 1 | 0.493 | 0.2511 | 0 | 1 | 500 | 510 | 1
3 | 3 | 4 | 1 | 1 |  |  | 1 | 0.366 | 0.1864 | 0 | 1 | 500 | 510 | 1
4 | 4 | 5 | 1 | 1 |  |  | 1 | 0.3811 | 0.1941 | 0 | 1 | 500 | 510 | 1
5 | 5 | 6 | 1 | 1 |  |  | 1 | 0.819 | 0.707 | 0 | 1 | 500 | 510 | 0
6 | 6 | 7 | 1 | 1 |  |  | 1 | 0.1872 | 0.6188 | 0 | 1 | 500 | 510 | 1
7 | 7 | 8 | 1 | 1 |  |  | 1 | 0.7114 | 0.2351 | 0 | 1 | 500 | 510 | 0
8 | 8 | 9 | 1 | 1 |  |  | 1 | 1.03 | 0.74 | 0 | 1 | 500 | 510 | 1
9 | 9 | 10 | 1 | 1 |  |  | 1 | 1.044 | 0.74 | 0 | 1 | 500 | 510 | 0
10 | 10 | 11 | 1 | 1 |  |  | 1 | 0.1966 | 0.066 | 0 | 1 | 500 | 510 | 0
11 | 11 | 12 | 1 | 1 |  |  | 1 | 0.3744 | 0.1238 | 0 | 1 | 500 | 510 | 0
12 | 12 | 13 | 1 | 1 |  |  | 1 | 1.468 | 1.155 | 0 | 1 | 500 | 510 | 0
13 | 13 | 14 | 1 | 1 |  |  | 1 | 0.5416 | 0.7129 | 0 | 1 | 500 | 510 | 0
14 | 14 | 15 | 1 | 1 |  |  | 1 | 0.591 | 0.526 | 0 | 1 | 500 | 510 | 0
15 | 15 | 16 | 1 | 1 |  |  | 1 | 0.7463 | 0.545 | 0 | 1 | 500 | 510 | 0
16 | 16 | 17 | 1 | 1 |  |  | 1 | 1.289 | 1.721 | 0 | 1 | 500 | 510 | 0
17 | 17 | 18 | 1 | 1 |  |  | 1 | 0.732 | 0.574 | 0 | 1 | 500 | 510 | 0
18 | 2 | 19 | 1 | 1 |  |  | 1 | 0.164 | 0.1565 | 0 | 1 | 500 | 510 | 0
19 | 19 | 20 | 1 | 1 |  |  | 1 | 1.5042 | 1.3554 | 0 | 1 | 500 | 510 | 0
20 | 20 | 21 | 1 | 1 |  |  | 1 | 0.4095 | 0.4784 | 0 | 1 | 500 | 510 | 0
21 | 21 | 22 | 1 | 1 |  |  | 1 | 0.7089 | 0.9373 | 0 | 1 | 500 | 510 | 0
22 | 3 | 23 | 1 | 1 |  |  | 1 | 0.4512 | 0.3083 | 0 | 1 | 500 | 510 | 0
23 | 23 | 24 | 1 | 1 |  |  | 1 | 0.898 | 0.7091 | 0 | 1 | 500 | 510 | 0
24 | 24 | 25 | 1 | 1 |  |  | 1 | 0.896 | 0.7011 | 0 | 1 | 500 | 510 | 0
25 | 6 | 26 | 1 | 1 |  |  | 1 | 0.203 | 0.1034 | 0 | 1 | 500 | 510 | 0
26 | 26 | 27 | 1 | 1 |  |  | 1 | 0.2842 | 0.1447 | 0 | 1 | 500 | 510 | 0
27 | 27 | 28 | 1 | 1 |  |  | 1 | 1.059 | 0.9337 | 0 | 1 | 500 | 510 | 0
28 | 28 | 29 | 1 | 1 |  |  | 1 | 0.8042 | 0.7006 | 0 | 1 | 500 | 510 | 0
29 | 29 | 30 | 1 | 1 |  |  | 1 | 0.5075 | 0.2585 | 0 | 1 | 500 | 510 | 0
30 | 30 | 31 | 1 | 1 |  |  | 1 | 0.9744 | 0.963 | 0 | 1 | 500 | 510 | 0
31 | 31 | 32 | 1 | 1 |  |  | 1 | 0.3105 | 0.3619 | 0 | 1 | 500 | 510 | 0
32 | 32 | 33 | 1 | 1 |  |  | 1 | 0.341 | 0.5302 | 0 | 1 | 500 | 510 | 0
33 | 25 | 29 | 1 | 1 | 9 | 2 | 1 | 0.5 | 0.5 | 0 | 1 | 500 | 510 | 0
34 | 8 | 21 | 1 | 1 |  |  | 1 | 2 | 2 | 0 | 1 | 500 | 510 | 0
35 | 12 | 22 | 1 | 1 |  |  | 1 | 2 | 2 | 0 | 1 | 500 | 510 | 0
36 | 9 | 15 | 1 | 1 | 9 15 | 0.5 0.5 | 1 | 2 | 2 | 0 | 1 | 500 | 510 | 0
37 | 18 | 33 | 1 | 1 | 18 13 | 1 1 | 1 | 0.5 | 0.5 | 0 | 1 | 500 | 510 | 0
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Số thứ tự Line, duy nhất >1000
Note on D2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 1-Inservice; 0- Out of service
Note on E2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 1: có thể đóng/mở
Note on H2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Length of Line (km)
Note on L2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Xuất sự cố
Note on O2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 1: có thể đặt Recloser

## LOADPROFILE
## LOAD_PROFILE_DATA
time\NOBUS | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33
1 | 1 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72
2 | 1 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65
3 | 1 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6
4 | 1 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
5 | 1 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52
6 | 1 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6
7 | 1 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8
8 | 1 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85
9 | 1 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86
10 | 1 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88
11 | 1 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9
12 | 1 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92
13 | 1 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94
14 | 1 | 0.96 | 0.96 | 0.96 | 0.96 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
16 | 1 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96
17 | 1 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94
18 | 1 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9
19 | 1 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85
20 | 1 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9
21 | 1 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85
22 | 1 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84
23 | 1 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8
24 | 1 | 0.76 | 0.76 | 0.76 | 0.76 | 0.76 | 0.76 | 0.76 | 0.76 | 0.76 | 0.76 | 0.76 | 0.76 | 0.76 | 0.76 | 0.76 | 0.76 | 0.76 | 0.76 | 0.76 | 0.76 | 0.76 | 0.76 | 0.76 | 0.76 | 0.76 | 0.76 | 0.76 | 0.76 | 0.76 | 0.76 | 0.76 | 0.76
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Số nút (duy nhất)

## GENPROFILE
## GEN_PROFILE_DATA
time\NOBUS | 1
1 | 1
2 | 1.02
3 | 1.03
4 | 1.04
5 | 1.03
6 | 1.03
7 | 1.02
8 | 1.01
9 | 1.01
10 | 1
11 | 1
12 | 1
13 | 1
14 | 1
15 | 1
16 | 1
17 | 1
18 | 1
19 | 1.01
20 | 1.01
21 | 1.01
22 | 1.01
23 | 1.02
24 | 1.02
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Số nút của nguồn
Note on B2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: điện áp tại nút nguồn (1) theo thời gian